Inventory of Loft area					6/16/08

Top Shelf

Second Shelf

Third Shelf

Tool kit 1

Bin 1

Bin2

Top of Cabinet

2awg stranded white hookup wire

dymo label cassette

9V batteries  [7]

AA batt [18]

red 2”‘ wide vinyltape  3m 764

electrical tape   9+ rolls  red, blue, orange, green, yellow

Top of Bin Stack

Pulizzi unit Intelligent Power Controller IPC3402

Tool Kit

light meter attacment

wire stripper/cutter/crimper tool

soldering iron

wire strippers [various]

desoldering braid

electrical tape

clip leads

cheater

diagonal cutters

pliers

screw drivers

hex keys

ty-wraps

Grounding wrist strap

teflon tape

Bin 1 Fish tape & Gloves

Tuff Grip Steel Fish tape  100’ x 1/8”

Pacific Scientific Stepper Motor (long shaft – ADC)  water damage?

Intelligent Motion Systems IM804 module - labeled dead

Cable ty tool

bifurcated 2’ extension cord

Preliminary draft – Fiber positioner pinout diagrams

wire stripper

electrical tape [3]

work gloves [1 pr]

Bin 2

BLDC Motor	160VDC	1HP	7200 RPM  Eastern Air Devices w/ cable

Bundle of cables – some with 9 pin D connectors

Took Kit #2 Cordura fabric

Static mat

static straps

VOM meter [BK : needle scale readout]

30’ tape measure

nibbler tool

molex crimp tool

screw drivers

small combination wrench set

pliers

alligator clip leads

BNC FF & FFM connectors

desoldering bulb

AMP crimp tool

tweezer set

scissors

BNC m – banana adaptor

dental tools

buck knife

cutters

pliers

chip extraction tools

solder

hex keys

Right angle light pipe & flashlight (dead batteries?)

fuse puller

Nut driver set

resistor bending form

retaining ring pliers

logic probes (one damaged?)

clamp ampmeter attachment

power cord for current measurement

cable ties

spool of wire with lots of sample points

Bin 3 – TG Electrical/Test equipment  WFS Test gear LVPS HP, 5v, scope meter,wavetek Signal generator, Scsi blout

Fiber Positioner Test Cables –

XY Bake(2),

Z Brake,

XY Lin. Enc Breakout,

GL to EP

EP to RSF Breakout

VME/VXI Processor breakout Board

Wavetek 2MHz Function Generator Model 20

Wavetek Power Supply Wall Wart

HP Dual 0-40V, 0.3A power supply

60 pin/ribbon and 60 pin SCSI connector breakout boards

DB9 M/F cable

Industrial Devices  S6002 microstepping drive

Computer Optical Products Encoder W/DB9 connector

DB25F breakout box with DB25 M/M 6’ cable

Acopian DC power supply with power cable and leads

DB9M to RJ6, DB9F to RJ6 (labeled PC serial port)

Tektronix Scope Probes (2)

DB9 F/F 3’ cable labeled Pulizzi #2

DB9F to 2 wires

DB9F to circular connector labeled Hall

DB9F to circular connector labeled LIM

DB9F to smaller circular connector unlabeled

DB9F to 3 switches

Banana to Banana red lead

Top Shelf – Positioner Spares TBD

Test leads in yellow envelope & ADC test cables

Joe Z FedEx box

dental mirror

tweezers

metal tape

Yellow Tape

T2 fixture

50’ black encoder cable

BNC Cables  6’, 20’

Spare UHF Encoder Cable

FP X-Y lin to rotary encoder swap cables

MMTS 5358-3 PX23 to PJx23  Lower Temps Ext. cable

ST190  Stancor Thermostat (5)

Box w/ PWB FP GL Encoder conditioning board 			-> TG 3/08

Box w/PWB FP GL Encoder conditioning board  & RSF Module	-> TG 3/08

Box w/Encoder conditioning Fixture & RSF to DB9 cable

Bag w/Spec/Chelle Altera PLD’s, opto couplers, Hamlin switches,

magnets, ICBLL Temp Sensore

Box w/Spare VDA1 Positioner House Camera Video Amp

Box w/ Power off brake 0261-0118-0 44 MFSB-15-6-115V

Box w/ Pacific Scientific Stepper Motor  M21NRXB-LDN-M1-00

Vicor box w/ 		[not quite as labeled]

Vicor ripple attenuator modules VI-RAM-E1 (3)

dc-dc module power one (digi-key 179-2140-ND) 24Vin 12Vout 50W [2]

dc-dc module power one (digi-key 179-1004-ND) 5Vin 15Vout 50W [2]

Vicor box w/ spare LVPS for EP box VI-RJ1022-EYZZ[2]

Copley motor Controler Model 145

Copley motor Controler Model 5424AC [2]

Copley motor Controler Model 421  4

RSF Module

VIPC 618 configured for guider

Relays  Potter & Brumfield KUMP 14AT8-240 (2)

Test Encoders

.		Daido corp H48 Incremental  2500 C/T  FP Lin

Copley Optical Products550-2588L 0897 P/N 32-0000-0036

Box w/ Temperature Control D board & [2] DC-DC converter modules

Video Camera Power/Signal cable  100’

Digikey USB0805C TVS Array BiDir [3]

S4102 Contact (mini BNC type?) [6-M, 3-F}

Larger Relays Botter & Brumfield M 17AY-240 9944   [3]

Intelligent Motion System IM805

Intelligent Motion System IM804 [2 mounted on plate]

2nd Shelf – WFC spares, SBS Greenspring

Warner Electric P/N 6013-448-001 Model CBC-160-1N Clutch Brake Control

Circuit board  MMTC  OV5401/5201  unpopulated

SBS box 1  IP-OPTOIO-8[4]  IP Digital48 [2]

SBS box 2 SBS Carrier VIPC 618  Empty

SBS box 3  IP Stepper [5]  IP-OPTIO-8 [1]

Plastic cases  VIPC618 [2]

SBS box 4 VIPC 618 w/2 Stepper daughter cards

SBS Box 5 IP-Stepper with X on back, IP stepper, IP-ADIO , IP OPTOIO

Copley 421  removed from use 3/14/08			-> TG 4/24/08

Astec LPT63 WFS LVPS [3]

Box w/ Power off brake 0261-0118-0 44 MFSB-15-6-115V

Copley 5424AC Motor Controller [2]

SBS IPstepper  [2]

spare Hall Sensors for HSS  A3122LUA

Encoder 1  HEDL-5640

3rd Shelf – Stepper systems

Black case with PC BasedDigital Scope ---

Toshiba Satellite Computer SI #310521 surplussed -> Grace 3/08

Other components, leads. software  & case retained

Spare Spec Filt Changer Stepper  Pacific Scientific BE0200 E22nrft-ldn-M1-00

Intelligent Motion System Connectors PLG-R 8 position, screw tighten [12]

6’ High Density D cables [5]

Motor Control power supply  IMS ISP200-7 [5]

Motor Control Module  IMS IM805[6]

Motor Control Module  IMS IM804[1]

Power One 15V supply HB-15-1.5-A

Power One 5V supply HB-5-3/OVP-A

Stepper F/F Rev. 3 – Circuit board on Aluminum plate 20” x 20”

4th Shelf – Megacam, Wave Front Sensor spares

Mega Key Fix

bag label:{J153A -3, P163A4, P53A-3, P63A-4}

Amphenol MS27484E16F35SC 0351 1231616 cable connector

Amphenol MS27484E16F35SB 0351 1231612 cable connector

Amphenol MS27474E16F35PB 0352 1231610 bulkhead connector

Amphenol MS27474E16F35PC 0351 1231614 bulkhead connector

Glenair 06324-661-003J16D3.5-01 9921(3) cover

Glenair 380FS103M1616A3C 0402 06324 Cable jacket (3)

Glenair 380FS001M1812A3C 0402 06324 Cable Jacket  (2)

Glenair 06324 JAN MS27511F16N 9948 (4) cover

Glenair 06324 JAN MS27511F18N 9934  cover

Glenair 06324 JAN MS27510F18C 9903  cover

Amphenol MS27484E18F96PA 0403 1231619 (2) cable connector

Amphenol MS27474E18F96SA 0407 1235619 Bulkhead connector

ESC MS27511F18C8825 cover

Topbox Motors, brakes, Encoders

?RBEHE-01812-A00  Motor heated to 400F

works but performance is questionable

WFS torroid XFMR  Hammond 182S24

HT 200B Crimp tool for RJ 4,6,8 connectors

Magnecraft W78ARCSX-11 relays (3)

LabJack U12 IO unit  DB25F, BREAKOUT and USB (2)

Copley Model 5321 Motor controller

WFS I/F PWB spare

WFS IF PWB unpopulated

5th Shelf – MISC

Pulizzi IPC3402-Net

Honeywell Lights 101MG7 RKA2007 (4)

Honeywell Lights 102MG11 RKA2011 (1)

Connectors & pins from Digi-Key

A23924  8 pos MTA 100 (10)

A19276  8 pos Strain Relief Cover (10)

A2076   D sub housing plug 15 pos  (5)

A31948  D sub housing recept 15 pos (5)

A31954 D sub pin 22-28 AWG Gold  (100)

A31955 D sub socket 22-28 AWG Gold (100)

Ferrite cable clamp – Fair-Rite # 0443164151 (3)

Stancor STO 140 disk thermostat

Stancor STO 175 disk thermostat

Fluke ScopeMeter 97 w/ interface adapter

Acopian W12NT2200 Power Supply for light box 12 V halogen lamps

Frame Grabber Data Translation DT3155 (0) -> John Roll for Snappy upgrade(3)

Fiber Back Light Spare

Elpac Power Systems BFS500-48  48.4 V 10A

OPTIK 83F1146   OPB369T51 opto interrupters (4)

EDINS backplane connectors (4M, 4Fa, 2Fb)

Panavise

Long throw vise

EDAS Ethernet to Serial

50 pin SBS breakout box

Puntino Parts

OPB360T51 opto interrupter

304-560 opto interrupter (2)

260-9407 LED

Spare Printed Wire Board with MC68HC711E9CFN2

6th Shelf – Dome light TBD

CED WebDAQ/100  IO box & power supply

Photron Hollow Cathode Lamps( 2 Fe-He-Ne-Ar, 1Cu-He-Ar)

Gilway Lamps L523 (2)

Dome Light HV Power Supply (2)

Dome light box Spares & Fuses

Bag with Power supply and HD15F to  6 BNC’s

Notes dated 7/5/06 suggest it is for encoder breakout

Bag labeled SHV with

Hollow cathode socket

High Voltage BNC sockets  174-3-9 (6)

WFC motor current breakout and DMM adapter + 2 Stepper motors (1 bad, 1 ok)

DigiKey box

DB9M cable

FP Brake cable

Pomona Banana to Clip black & red

Pomona Clip to Clip  black, black, and red

DB 25 M to DB25F, 6 conductors with indiv connectors +DB25M loopback?

6 power resistors with connectors to above connectors

PVN012 IC relay PhotoVo 20V 2.5A 6 Dip (10)

HAS050YH-AN DC-DC 24V in, 12V out 50W  Converter

DB9 to 6 BNC’s

Newport box – Light box parts, power supplies, fuses

Devcon 5 min epoxy

RTV 108

Trip Lite Isobar DNET1 Network Surge Suppressor (2)

Islatrol Plus Active Tracking Filter  Control Concepte IC +105

Fuse holders (3)

Corona dope

Carling switch AC1-80-34-450-131-D

Black gloss enamel

Acopian 12WB250 power supply

Acopian 5EB100 Power supply

Hollow cathode sockets (5)

Blue tinted glass slips

ENSP1F5 – Ethernet Panel Mount Female (2)

Hollow cathode plug & short wire (3)

Fuses

1.0A/250V  3AG Slo Blo  F319-ND (30)

1.2A/250V  3AG Slo Blo  F320-ND (20)

3.0A/250V  3AG Slo Blo  F329-ND (10)

F02A  250V 5A	(2)

F02A  250V 2A	(12)

F02A  250V 1A	(13)

GBA3 			(4)

AGC4 32V		(4)

AGX2 250V		(1)